Ambient Light Sensor - 1

Model			TEMT6000

Manufacturer		Vishay

Features:

- Adapted to human eye responsivity

- Wide angle of half sensitivity ϕ = ± 60°

Characteristics:

Ambient Light Sensor – 2

Model			TSL2561

Manufacturer		Texas Advanced Optoelectronic Solutions

Features

- Two channels, IR, IR+ Visible, mimic human eye response

- 0.1 – 40k lux

Characteristics

Ambient Light Sensor – 3

Model			TSL2591

Manufacturer		AMS

Features

•	Two channels, IR, IR+ Visible, mimic human eye response

•	188 uLux sensitivity, up to 88,000 Lux

RGB Light Sensor

Model				ISL29125

Manufacturer			Intersil

UV Sensor

Model				GUVA-S12SD

Manufacturer			Roithner LaserTechnik GmbH

UV-IR-Visible 3-in-1

Model				SI1145

Manufacturer			Silicon Labs

Features

- Integrated UV index sensor

- 1-128k lux, 0.1 lux resolution

- I2C Serial communications